## Slide 1
Pumped Storage Hydro-
power
Gravity
Redox Flow Batteries
Li-ion *
Thermal
Electrolytic Hydrogen
Compressed Air Energy Storage
Metal-Air Batteries *

## Slide 2
Combined Energy/Power
Power Conversion
Cavern Storage
Energy Storage
Solar
Electrolyzers
Fuel Cells
Representative Short-Duration Technology:
Li-ion battery storage
Example Mid-Duration Technology
or
Storage X
Representative Long-Duration Technology:
Electrolytic Hydrogen Storage
Wind
Energy Storage
Electricity Generation
Electricity Load
Electric Power
Curtailment
Time Series Data
Technology Power Component
Technology Energy Component
Key
Demand

## Slide 3
Thermal
Hydrogen
CAES
Metal-Air *
PHS
RFB
Gravity
Li-ion *

## Slide 4
Thermal
Hydrogen †
CAES †
Metal-Air *
PSH
RFB
Gravity
Li-ion *

## Slide 5
* Mid-duration storage is not cost competitive
*
*
*
*
Li-ion
PSH
Gravity
RFB
Thermal
CAES
M-Air
Solar
Wind
*
Li-ion
* Mid-duration storage is not cost competitive
Hydrogen
Solar
Wind
Solar
Wind
Solar
Wind
Hydrogen
PSH
Gravity
RFB
Thermal
CAES
M-Air
System Cost Reduction

## Slide 6
Li-ion
PSH
Gravity
RFB
Thermal
CAES
M-Air
Solar
Wind
Li-ion
Hydrogen
Solar
Wind
Solar
Wind
Solar
Wind
Hydrogen
PSH
Gravity
RFB
Thermal
CAES
M-Air
Energy Cost Reduction
Hydrogen
Li-ion

## Slide 7
Li-ion
Solar
Wind
Hydrogen
Solar
Wind
Solar
Wind
Solar
Wind
Hydrogen
PSH
Gravity
RFB
Thermal
CAES
Metal-Air
Li-ion
Hydrogen
Li-ion

## Slide 8
Not present in least-cost system

## Slide 9
Li-ion and Storage X compete
Li-ion + Storage X
only Storage X
only Li-ion

## Slide 10
Li-ion + Storage X
only Storage X
only Li-ion

## Slide 11
Hydrogen and Storage X compete
Hydrogen + Storage X
only Hydrogen
only Storage X

## Slide 12
Hydrogen + Storage X
only Hydrogen
only Storage X

## Slide 13
Thermal
Hydrogen
CAES
Metal-Air *
PHS
RFB
Gravity
Li-ion *

## Slide 14
Thermal
Hydrogen †
CAES †
Metal-Air *
PSH
RFB
Gravity
Li-ion *

## Slide 15
Hydrogen and Storage X compete
Hydrogen + Storage X
only Hydrogen
only Storage X

## Slide 16
* Mid-duration storage is not cost competitive
*
*
*
*
Li-ion
Solar
Wind
*
* Mid-duration storage is not cost competitive
Hydrogen
Solar
Wind
Solar
Wind
Solar
Wind
Hydrogen
PSH
Gravity
RFB
Thermal
CAES
M-Air
*
Li-ion
*
*
*
* Mid-duration storage is not cost competitive

## Slide 17
* Mid-duration storage is not cost competitive
*
Li-ion
Solar
Hydrogen
Solar
Solar
Solar
Hydrogen
PSH
Gravity
RFB
Thermal
CAES
M-Air
Li-ion
*

## Slide 18
Li-ion
Solar
Hydrogen
Solar
Solar
Solar
Hydrogen
PSH
Gravity
RFB
Thermal
CAES
M-Air
Li-ion
Hydrogen

## Slide 19
Li-ion
Solar
Hydrogen
Solar
Solar
Solar
Hydrogen
PSH
Gravity
RFB
Thermal
CAES
Metal-Air
Hydrogen
Li-ion

## Slide 20
Not present in least-cost system

## Slide 21
Not present in least-cost system

## Slide 22
Not present in least-cost system
Not present in least-cost system

## Slide 25
Hydrogen + Storage X
only Storage X

## Slide 26
Li-ion, Hydrogen, and Storage X compete
Hydrogen + Storage X
Li-ion + Hydrogen + Storage X
Li-ion + Hydrogen
Only Storage X
Li-ion + Hydrogen + Storage X

## Slide 27
Hydrogen + Storage X
Li-ion + Hydrogen + Storage X
Li-ion + Hydrogen
Only Storage X
Only Storage X
Li-ion + Hydrogen + Storage X
Hydrogen + Storage X

## Slide 28
When all three technologies compete
PGP + Storage X
Li-ion + PGP
+ Storage X
Li-ion + PGP
only Storage X

## Slide 29
Hydrogen + Storage X
Li-ion + Hydrogen + Storage X
Li-ion + Hydrogen
Only Storage X
Li-ion + Hydrogen + Storage X

## Slide 31
89 cycles/year
191 cycles/year
261 cycles/year
28 hour discharge
55 cycles/year
2.8 hour discharge
262 cycles/year
513 discharge
1.6 cycles/year
810 hour discharge
1.0 cycles/year
49 hour discharge
1.5 cycles/year
854 hour discharge
2.4 cycles/year
Hydrogen
+ Storage X
Li-ion + Hydrogen + Storage X
Li-ion + Hydrogen
Only Storage X

## Slide 32
89 cycles/year
191 cycles/year
261 cycles/year
28 hour discharge
55 cycles/year
2.8 hour discharge
262 cycles/year
513 discharge
1.6 cycles/year
810 hour discharge
1.0 cycles/year
49 hour discharge
1.5 cycles/year
854 hour discharge
2.4 cycles/year
Hydrogen
+ Storage X
Li-ion + Hydrogen + Storage X
Li-ion + Hydrogen
Only Storage X

## Slide 33
Natural Gas
Li-ion
Solar
Wind
PSH
Gravity
RFB
Thermal
CAES
M-Air
Hydrogen
Natural Gas
Solar
Wind
Natural Gas
Solar
Wind
Natural Gas
Solar
Wind

## Slide 34
Natural Gas
Li-ion
Solar
Wind
PSH
Gravity
RFB
Thermal
CAES
Metal-Air
Hydrogen
Natural Gas
Solar
Wind
Natural Gas
Solar
Wind
Natural Gas
Solar
Wind
Hydrogen
Li-ion

## Slide 35
Li-ion
Solar
Wind
Hydrogen
Solar
Wind
Solar
Wind
Solar
Wind
Hydrogen
PSH
Gravity
RFB
Thermal
CAES
Metal-Air
Li-ion
Hydrogen
Li-ion

## Slide 36
232 cycles/year
522-hour discharge
1.5 cycles/year
209 cycles/year
15 cycles/year
823-hour discharge
0.87 cycles/year
419-hour discharge
1.7 cycles/year
(fixed 4-hour discharge)
(fixed 100-hour discharge)

## Slide 37
232 cycles/year
294 cycles/year
295 cycles/year
Not modeled
11 hour discharge
84 cycles/year
87 hour discharge
20 cycles/year
833 hour discharge
1.1 cycles/year
583 hour discharge
1.4 cycles/year
522 hour discharge
1.5 cycles/year
The role of technologies (timescale at which they store energy) is dependent on how their characteristics compare to other technologies competing in the system.
* Figure 6

## Slide 38
Metal-Air with Independent Energy and Power Capacities (MIT Costs)

## Slide 39
* Mid-duration storage is not cost competitive
*
*
*
*
Li-ion
PSH
Gravity
RFB
Thermal
CAES
M-Air
Solar
Wind
*
Li-ion
* Mid-duration storage is not cost competitive
Hydrogen
Solar
Wind
Solar
Wind
Solar
Wind
Hydrogen
PSH
Gravity
RFB
Thermal
CAES
System Cost Reduction
M-Air
† Li-ion is not cost competitive
† Li-ion is not cost competitive
†
†
Metal-air with 100h duration (MIT Costs)

## Slide 40
Metal-air with independent energy- and power-capacity (MIT Costs)
295 cycles/year
87 hour discharge
20 cycles/year
833 hour discharge
1.1 cycles/year
87 hour discharge
20 cycles/year
833 hour discharge
1.1 cycles/year
295 cycles/year
87 hour discharge
20 cycles/year
87 hour discharge
3.3 cycles/year

## Slide 41
10.1 cycles/year
1007 hour discharge
0.71 cycles/year
10.1 cycles/year
1007 hour discharge
0.71 cycles/year
6.6 cycles/year
6.6 cycles/year
Not Competitive
Not Competitive
Metal-air with fixed energy- and power-capacity ratio of 100 hours (MIT costs)